## Project Submission Checklist
Project Submission Checklist - Minimium Criteria
All 1st submission plan review packages must include this completed checklist ADDITIONAL PLAN TYPE REQUIREMENTS ARE LOCATED AT THE END OF THE GENERAL PLAN SET CHECKLIST BELOW
Project Address:
Project Name:
Project Designer (PD): |  |  |  | Square:
Number of Metered Connections: |  |  |  | Lot:
Proposed Domestic Pipe Size: |  |  |  | Number of Units:
Proposed Fire Connection Size: |  |  |  | PD's Initials:
GENERAL PLAN SET CHECKLIST
** Pre-Screen Rejection Item |  | Please indicate at right that each criteria is present on your plans, if applicable. |  |  |  | PD = Project Designer
Item # |  | Description |  |  |  |  | PD
** | 1 | THIS COMPLETED CHECKLIST
** | 2 | PERMIT REVIEW SUBMISSION LOG-IN SHEET |  |  | ( Link )
** | 3 | PLAN SUBMISSION FEE IN THE AMOUNT OF $140.00 (LARGE Plan Set ONLY)
** | 4 | TWO (2) SETS OF FULL-SIZE PLANS AND AN ELECTRONIC FILE (pdf).
** | 5 | VICINITY MAP WITH NORTH ARROW
** | 6 | LEGEND
** | 7 | GRAPHIC SCALE
** | 8 | INDEX OF SHEETS
** | 9 | PROJECT NARRATIVE To include (as applicable) the existing site conditions, proposed water/ sewer abandonments/ connections, proposed building use, # of residential units, # of building stories above and below ground, and proposed stormwater management. If stormwater management is not required, that should be mentioned in the narrative.
** | 10 | LICENSED PROFESSIONAL STAMP / SIGNATURE Plan sheets are signed and sealed by a professional engineer or architect, registered in the District of Columbia.
** | 11 | PROPERTY IDENTIFIERS Full property boundaries, lot lines, lot & square numbers, addresses, easements, street names, roadway/alley right-of-way widths shown and clearly labeled.
| 12 | EXISTING CONDITION PLAN SHOWING:
** | a | Buildings, curb & gutter, trees, walls, utility poles, signs, manholes, valves, fire hydrants, etc. shown and clearly labeled.
** | b | All existing water and sewer service lateral (s) to the building shown.
** | c | Property boundaries, lot lines, lot & square numbers, site address, street name, easement, roadway/alley right-of-way widths.
** | d | Existing water, and sanitary/ storm/ combined sewer mains with size, material and installation date.
| e | Existing electric (overhead and/or underground), gas mains, and communication lines with guy wires, poles, and vaults.
| 13 | PROPOSED DEMOLITION PLAN SHOWING (IF APPLICABLE):
| a | Utilities to be abandoned using an appropriate hatching.
** | b | All abandonments of water and sewer connections to be clearly labeled on the plans with appropriate notes describing how the services are to be abandoned. If the abandonments of the service connections are approved under a separate permit, show that with appropriate DC Water tracking number.
| c | Building (s) to be razed/ demolished with appropriate hatch.
| 14 | PROPOSED CONDITION UTILITY PLAN SHOWING:
** | a | All proposed buildings, curb & gutter, sidewalk, trees, walls, utility poles, signs, manholes, stormwater management facilities etc.
** | b | Proposed water, sanitary sewer, storm sewer, combined sewer mains and/ or service connections with size, material, and pipe class. The proposed utility mains/ service connection should include valves, fire hydrants, meter, manholes, cleanouts as applicable.
| c | Proposed gas, electric, and communication mains and service connections including poles and vaults shown and clearly labeled.
** | d | The number of metered connections must be shown and clearly labeled on the plans in a different line weight and referenced on the legend.
| e | All proposed water or sewer connections clearly dimensioned in two directions from the property line.
** | f | Appropriate current signed DC Water Standard Details. Standard details included on the plan sheet should be at least 80% of the actual size.
** | g | CURRENT DC Water General Notes |  |  | ( Link )
| h | If the project includes public water main replacement, the plans should clearly identify all property owners who will be affected by the proposed water construction. The plans should include limits of disturbance from the main to the property, addresses of properties affected, and size of existing service.
| i | Proposed water meter, curb cock, and sewer clean-out are located in public space per DC Water std. details. |  | WATER ( Link ) | SEWER ( Link )
| j | Provide structural design calculations when applicable., i.e. non-standard thrust blocking, Manholes exceeding 20 feet in depth and other non-standard structural appurtenances.
| 15 | SERVICE CONNECTION PROFILES:
** |  | Profiles are required for all water/sewer Infrastructure "main line" upgrades and/or additions, and for all water and sewer service connections larger than 2".
| a | Pipe size, material and pipe slope (pipe slope applies to sewer service laterals).
| b | Rim and invert elevations of all structures (applies to sewer service laterals).
| c | Station numbers and elevations for all structures/ fittings.
| d | All utility crossings with elevations.
| e | Invert elevation at the connection point (applies to sewer service laterals).
| f | All structures called out (labeled on the plans) with reference to a DCW standard detail.
| g | Existing and proposed grades.
| h | Thrust blocks with reference to standard details (applies to large water service connection) or specific project details if not standard.
| i | Pipe restraint note (applies to large water service connection).
| j | Large meter vault (applies to large water service connection).
| k | 15-yr Hydraulic Grade Line (HGL) (applies to storm and combined sewer service laterals).
| l | Property line, and limits of public and private maintenance.
| m | Vertical datum used.
| n | Horizontal and vertical scales.
| o | First and lower floors with elevations.
| p | Profile title.
| 16 | STORM SEWER DESIGN COMPUTATIONS (IF APPLICABLE) FOR:
| a | 15-year runoff rate using rational method or other approved method.
| b | Sewer pipe sizing.
| c | Hydraulic grade line.
| d | Inlet sizing.
| 17 | STORMWATER MANAGEMENT PLANS, (If Applicable)
| a | Stormwater Management Narrative.
| b | Existing & proposed drainage divides with flow arrows.
| c | Pre- and post-development 2-yr , and pre- and post-project 15-yr storm runoff values for each existing storm/ combined sewer main.
| d | 15-yr post-BMP storm runoff (routed) value that takes into account provided storage in BMP for each existing storm / combined sewer main.
| e | Stormwater management details.
| 18 | PLAN SHEET WITH STANDARD DETAILS AND FORMS
| a | All submissions must include the appropriate DC Water standard details. |  | WATER ( Link ) | SEWER ( Link )
** |  | The following DC Water standard forms are completed and provided on the plans when applicable:
| b | DC Water Meter Sizing Worksheet |  |  | ( Link )
| c | DC Water Backflow Preventer Form |  |  | ( Link )
| d | DC Water Booster Pump Form (if applicable) |  |  | ( Link )
| e | DC Water Backwater Evaluation Form (Sewer) even if sewer lateral is to be re-used |  |  | ( Link )
| f | Hydrant flow test (applies to large water service connection).
| g | Letters requesting variance: domestic meter inside building; fire detector check assembly outside building (if applicable).
NOTE: Standard details and meter sizing worksheet pages included on the plan sheet should be at least 80% of the actual size.
| 19 | MISCELLANEOUS INFORMATION:
| a b c d e | If the project consists of either an existing or proposed Affordable Housing Unit (AHU), submit one or more of the following documents for System Availability Fee AHU or Net AHU Credits: 1. Land Disposition Development Agreement; 2. Zoning Commission Order; 3. Planned Unit Development Covenant; 4. Certificate of Inclusionary Zoning; or 5. Letter from the District financing agency that establishes the number of AHU in the property.
| f | Include domestic and automatic fire sprinkler, and sanitary and storm sewers riser diagrams as applicable.
| g | The sewer riser diagram showing backwater valve, according to Section 715 of the 2013 International Plumbing Code.
NOTE: All meters located within a building will require DC Water Director approval.
END OF SUBMITTED GENERAL PLAN SET CHECKLIST
ADDITIONAL PLAN TYPE REQUIREMENTS ARE OUTLINED BELOW
APPLICATION TYPE = APPROVED PLAN REVISION
| 20 | APPROVED PLAN REVISION PLANS SHOWING:
** | a | Originally approved DC Water civil utility plan as information sheet showing the DC Water stamp.
** | b | Utility plan with changes inside of cloud as they affect each area of the plan set.
| c | Additional DC Water Details, as Needed.
| d | Note on plans if the revision is a SCOPE change or a Field change.
APPLICATION TYPE = RAZE
| 21 | RAZE PLANS SHOWING:
** | a | Building (s) to be razed with appropriate hatch.
| b | DC Water bill showing account payment status is current.
| c | Utility clearance letter as provided by DCRA.
APPLICATION TYPE = SHEETING AND SHORING
| 22 | SHEETING AND SHORING PLANS SHOWING:
| a | Extent of tiebacks and/ or other Support of Excavation (SOE) system.
| b | Public space abutting the project with all utilities.
| c | Location of excavation zone of influence.
| d | Dewatering plan (if any) with pump rates and discharge location noted.
| e | Proposed construction phase water service location/ type, etc.
| 23 | SHEETING AND SHORING CROSS-SECTIONS SHOWING: (CROSS-SECTIONS ALL SIDES FRONTING PUBLIC SPACE AND THAT IMPACT WATER AND SEWER UTILITIES)
| a | Existing/ proposed DC Water utilities with elevations.
| b | Elevations for top and toe of the sheeting.
| c | Elevation for the bottom of excavation.
| d | Dimensions between utilities and property line.
| e | Proposed SOE system.
| f | Dimension between tieback and nearest DCW utility .
| g | The zone of influence line from the bottom of excavation.
| h | Note: A pre-construction condition assessment (CCTV or other) will be required for all sewers within the excavation or tieback zone of influence (ZOI) for plan approval.
| i | Monitoring, instrumentation and contingency plan (if applicable) notes included.
APPLICATION TYPE = TEMPORARY CONNECTION
| 24 | TEMPORARY CONNECTION PLANS SHOWING:
** | a | Project narrative describing the existing site conditions, proposed temporary water and/ or sewer service connection pipe size, purpose of temporary service connection, and duration of the service connections.
** | b | The location of temporary service connections with size, material, and pipe class. The service connection should include location of meter, manhole, cleanout, backflow prevention as applicable.
( Link ) | These items are also available for download at: |  | https://www.dcwater.com/design-standards-and-forms