## Influent
Facility Name: | DC WATER AND SEWER AUTHORITY
Facility ID: | DCP021199 | UNITS: | MG/L
Location: | INFLUENT |  |  | Date | Date | Date | Date | Date | Date | Date |  | Date |  | Entry Count
| Pollutant | Goals | Frequency | 2021-03-22 | 2021-03-23 | 2021-05-11 | 2021-05-13 | 2021-07-26 | 2021-07-28 | 2021-11-15 | 2021-11-16 | 2021-11-17 | DTfl | 55 | Total
01002 | ARSENIC- TOTAL | 0.0099 | 4 | 2021-03-23: 0.00045012; 2021-05-13: <0.0025; 2021-07-28: 0.000834; 2021-11-16: 0.000637 |  | 4
34030 | BENZENE | Monitor | 1 | 2021-05-13: <0.0006 |  | 1
01027 | CADMIUM- TOTAL | 0.0039 | 4 | 2021-03-23: <0.00016; 2021-05-13: <0.0008; 2021-07-28: 0.000163; 2021-11-16: <0.00021 |  | 4
01034 | CHROMIUM- TOTAL | 0.1624 | 1 | 2021-03-23: 0.002966; 2021-05-13: 0.00228; 2021-07-28: 0.0010605; 2021-11-16: 0.0022 |  | 4
01042 | COPPER- TOTAL | 0.1188 | 4 | 2021-03-23: 0.01699; 2021-05-13: 0.05225; 2021-07-28: 0.03645; 2021-11-16: 0.02725 |  | 4
00720 | CYANIDE- TOTAL | 0.0158 | 4 | 2021-03-23: 0.00121; 2021-05-13: 0.01198; 2021-07-28: 0.0028; 2021-11-15: <0.008 |  | 4
34371 | ETHYLBENZENE | Monitor | 1 | 2021-05-13: <0.001 |  | 1
01051 | LEAD- TOTAL | 0.0373 | 4 | 2021-03-23: 0.00203; 2021-05-13: 0.003095; 2021-07-28: 0.003095; 2021-11-16: 0.0008845 |  | 4
71900 | MERCURY- TOTAL | 0.0022 | 4 | 2021-03-22: 9.29e-06; 2021-05-11: 2.342e-05; 2021-07-26: 2.97e-05; 2021-11-17: 5.48e-05 |  | 4
01062 | MOLYBDENUM- TOTAL | 0.0085 | 4 | 2021-03-23: 0.00209; 2021-05-13: 0.00593; 2021-07-28: 0.006445; 2021-11-16: 0.00338 |  | 4
01067 | NICKEL- TOTAL | 0.1975 | 4 | 2021-03-23: 0.00564; 2021-05-13: 0.006935; 2021-07-28: 0.00481; 2021-11-16: 0.00501 |  | 4
04166 | PCB- TOTAL | Monitor | 1 | 2021-03-23: <0.00051; 2021-05-13: <0.00049; 2021-07-28: <0.001; 2021-11-16: <0.0000099 |  | 4
01147 | SELENIUM- TOTAL | 0.0084 | 4 | 2021-03-23: <0.00066; 2021-05-13: <0.0033; 2021-07-28: <0.00066; 2021-11-16: <0.0014 |  | 4
01077 | SILVER- TOTAL | 0.0366 | 4 | 2021-03-23: <0.00033; 2021-05-13: 0.00277; 2021-07-28: 0.001181; 2021-11-16: 0.001222 |  | 4
34010 | TOLUENE | Monitor | 1 | 2021-05-13: 0.003 |  | 1
01092 | ZINC- TOTAL | 0.3636 | 4 | 2021-03-23: 0.0889; 2021-05-13: 0.123; 2021-07-28: 0.0851; 2021-11-16: 0.06205 |  | 4
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
PLfl

## Effluent
Facility Name: | DC WATER AND SEWER AUTHORITY
Facility ID: | DCP021199 | UNITS: | MG/L
Location: | EFFLUENT |  |  | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date |  | Entry Count
| Pollutant | Goals | Frequency | 2021-01-13 | 2021-03-11 | 2021-03-23 | 2021-05-05 | 2021-05-19 | 2021-07-09 | 2021-07-28 | 2021-09-08 | 2021-11-03 | 2021-11-15 | 2021-11-16 | DTfl | 57 | Total
01002 | ARSENIC- TOTAL | 0.8411 | 4 | 2021-03-23: <0.0005; 2021-05-19: 0.00092; 2021-07-28: <0.0015; 2021-11-16: <0.00029 |  | 4
34030 | BENZENE | No Goal | 0 | 2021-05-19: <0.00012 |  | 1
01027 | CADMIUM- TOTAL | 0.0025 | 4 | 2021-03-23: <0.00016; 2021-05-19: <0.00016; 2021-07-28: <0.00016; 2021-11-16: <0.00021 |  | 4
01034 | CHROMIUM- TOTAL | 0.8185 | 0 | 2021-03-23: 0.00034; 2021-05-19: 0.000455; 2021-07-28: <0.00033; 2021-11-16: <0.00098 |  | 4
01042 | COPPER- TOTAL | 0.0368 | 4 | 2021-03-23: 0.00595; 2021-05-19: 0.0072; 2021-07-28: 0.00825; 2021-11-16: 0.0055 |  | 4
00720 | CYANIDE- TOTAL | 0.0397 | 4 | 2021-03-23: 0.01; 2021-05-19: 0.00605; 2021-07-28: 0.0091; 2021-11-15: <0.010 |  | 4
34371 | ETHYLBENZENE | No Goal | 0 | 2021-05-19: <0.0002 |  | 1
01051 | LEAD- TOTAL | 0.0294 | 4 | 2021-03-23: <0.00033; 2021-05-19: <0.00033; 2021-07-28: <0.00033; 2021-11-16: <0.00013 |  | 4
71900 | MERCURY- TOTAL | 0.0035 | 4 | 2021-01-13: 9.25e-07; 2021-03-11: 8.5e-07; 2021-05-05: 5.7e-07; 2021-07-09: 6.55e-07; 2021-09-08: 6.95e-07; 2021-11-03: 6.45e-07 |  | 6
01062 | MOLYBDENUM- TOTAL | Monitor | 4 | 2021-03-23: 0.0038; 2021-05-19: 0.00435; 2021-07-28: 0.00515; 2021-11-16: 0.0026 |  | 4
01067 | NICKEL- TOTAL | 0.4217 | 4 | 2021-03-23: 0.0065; 2021-05-19: 0.0057; 2021-07-28: 0.00555; 2021-11-16: 0.00575 |  | 4
04166 | PCB- TOTAL | No Goal | 0 | 2021-03-23: <0.00056; 2021-05-19: <0.00050; 2021-07-28: <0.00050; 2021-11-16: <0.0000094 |  | 4
01147 | SELENIUM- TOTAL | 0.0382 | 4 | 2021-03-23: <0.00066; 2021-05-19: <0.00066; 2021-07-28: <0.00066; 2021-11-16: <0.0014 |  | 4
01077 | SILVER- TOTAL | 0.013 | 4 | 2021-03-23: <0.00033; 2021-05-19: <0.00033; 2021-07-28: <0.00033; 2021-11-16: <0.00022 |  | 4
34010 | TOLUENE | No Goal | 0 | 2021-05-19: <0.00024 |  | 1
01092 | ZINC- TOTAL | 0.3243 | 4 | 2021-03-23: 0.013; 2021-05-19: 0.0096; 2021-07-28: 0.012; 2021-11-16: 0.0077 |  | 4
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
PLfl
Note on I8: Tess Carroll: first value is normal detection, second is J flagged

## Sludge
Facility Name: | DC WATER AND SEWER AUTHORITY
Facility ID: | DCP021199 | UNITS: | MG/KG
Location: | SLUDGE |  | DRY WT | Date | Date | Date | Date | Date |  | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date |  | Entry Count
| Pollutant | Goals | Frequency | 2021-01-07 | 2021-01-12 | 2021-02-05 | 2021-02-23 | 2021-03-09 | 2021-03-23 | 2021-03-23 | 2021-04-06 | 2021-04-19 | 2021-05-04 | 2021-05-13 | 2021-05-18 | 2021-06-11 | 2021-06-24 | 2021-07-09 | 2021-07-13 | 2021-07-29 | 2021-08-05 | 2021-08-10 | 2021-09-07 | 2021-09-15 | 2021-10-05 | 2021-10-14 | 2021-11-04 | 2021-11-15 | 2021-11-16 | 2021-12-07 | 2021-12-14 | DTfl | 308 | Total
01002 | ARSENIC- TOTAL | 41 | 4 | 5.6 | 5 | 7.9 | 4.2 | 6.3 | 7.1 |  | 6.6 | 6.1 | 1.5 |  | 1 | 4.4 | 6.2 | 6.7 | 6.7 |  | 11.6 | 4.4 | 7.3 | 6.5 | 5.9 | 5.1 | 3.9 |  | 4.8 | 2.6 | 2 |  | 24
34030 | BENZENE | Monitor | 1 | [6 empty] | 0.0185 |  |  |  | 0.0482 | [5 empty] | 0.0242 | [7 empty] | 0.019 |  |  |  |  | 4
01027 | CADMIUM- TOTAL | 39 | 4 | 2.4 | 3.5 | 3.4 | 2 | 3.1 | 3.1 |  | 2.6 | 2.7 | 0.37 |  | 0.25 | 2.8 | 3.1 | 3.2 | 3.2 |  | 0.63 | 3.1 | 1.6 | 1.5 | 3.3 | 2.9 | 0.54 |  | 0.83 | 0.45 | 0.36 |  | 24
01034 | CHROMIUM- TOTAL | Monitor | 1 | 55 | 45.6 | 81.7 | 46.3 | 75.2 | 75.3 |  | 65.9 | 66.8 | 22 |  | 15 | 66.6 | 77.1 | 85.1 | 94.6 |  | 61.6 | 65.7 | 74.1 | 66.3 | 84.6 | 77.9 | 38 |  | 57 | 31 | 24 |  | 24
01042 | COPPER- TOTAL | 1500 | 4 | 390 | 326 | 494 | 309 | 417 | 462 |  | 373 | 385 | 130 |  | 96 | 444 | 493 | 647 | 561 |  | 399 | 418 | 475 | 432 | 495 | 431 | 270 |  | 380 | 220 | 160 |  | 24
00720 | CYANIDE- TOTAL | Monitor | 4 | [6 empty] | 2.8 |  |  |  | 2.1 | [5 empty] | 0.64 | [7 empty] | 2.8 |  |  |  |  | 4
34371 | ETHYLBENZENE | Monitor | 1 | [6 empty] | <0.013 |  |  |  | 0.0209 | [5 empty] | 0.0045 | [7 empty] | 0.0061 |  |  |  |  | 4
01051 | LEAD- TOTAL | 300 | 4 | 30.2 | 31.1 | 34.2 | 20.8 | 30.4 | 30.4 |  | 29.9 | 18.5 | 9.7 |  | 6.3 | 31.8 | 44.5 | 42.1 | 64 |  | 37.3 | 45.8 | 56.8 | 44.3 | 65.3 | 36.9 | 22 |  | 26 | 12 | 8.5 |  | 24
71900 | MERCURY- TOTAL | 17 | 4 | 0.43 | 0.42 | 0.41 | 0.44 | 0.53 | 0.46 |  | 0.55 | 0.49 | 0.52 |  | 0.56 | 0.53 | 0.71 | 0.65 | 0.59 |  | 0.76 | 0.53 | 0.63 | 0.46 | 0.39 | 0.82 | 0.41 |  | 0.5 | 0.43 | 0.37 |  | 24
01062 | MOLYBDENUM- TOTAL | Monitor | 4 | 14.1 | 12.9 | 20.7 | 8.9 | 14.5 | 14.2 |  | 19.4 | 12.3 | 3.7 |  | 2.7 | 18 | 18.1 | 19 | 21.3 |  | 15.6 | 19.7 | 18.2 | 17.3 | 23.9 | 21.8 | 11 |  | 14 | 7.8 | 5.9 |  | 24
01067 | NICKEL- TOTAL | 420 | 4 | 27 | 23.4 | 33.3 | 18 | 29.8 | 31.6 |  | 26.4 | 27.3 | 8.5 |  | 6.1 | 27 | 32.3 | 34.1 | 41 |  | 28.6 | 26.8 | 34.9 | 29.8 | 30.7 | 27.3 | 15 |  | 22 | 12 | 8.8 |  | 24
04166 | PCB- TOTAL | Monitor | 1 | <0.11 | 0.044 | 0.047 | <0.01 | <0.01 | <0.011 | <0.33 | 0.28 | 0.14 | 0.11 | 0.1 | 0.11 | 0.092 | 0.1 | 0.038 | 0.057 | 0.17 | <0.20 | 0.22 | 0.044 | 0.095 | 0.059 | 0.023 | <0.052 | <.057 | <0.055 | <0.054 | 0.052 |  | 28
01147 | SELENIUM- TOTAL | 100 | 4 | 5 | 4.8 | 8.9 | 5.4 | 6.2 | 6.9 |  | 6.3 | 6.6 | 1.7 |  | 1.2 | 5.8 | 7.2 | 7.1 | 7.4 |  | <5 | 5.3 | <5 | <4.5 | 6.1 | 6.1 | 2.8 |  | 4.8 | 3.2 | 2.3 |  | 24
01077 | SILVER- TOTAL | Monitor | 4 | 5.7 | 6.2 | 6.7 | 5.4 | 6.5 | 11.7 |  | 8.2 | 7.3 | 2.2 |  | 1.5 | 7.6 | 8.9 | 10.3 | 9.5 |  | 5.5 | 5.8 | 6.9 | 11.1 | 12.1 | 14.8 | 7.1 |  | 11 | 4.3 | 3.5 |  | 24
34010 | TOLUENE | Monitor | 1 | [6 empty] | 0.0744 |  |  |  | 0.349 | [5 empty] | 0.136 | [7 empty] | 0.13 |  |  |  |  | 4
01092 | ZINC- TOTAL | 2800 | 4 | 745 | 655 | 846 | 483 | 801 | 871 |  | 709 | 812 | 270 |  | 190 | 936 | 1020 | 1060 | 1120 |  | 797 | 840 | 881 | 799 | 983 | 906 | 470 |  | 670 | 370 | 280 |  | 24
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
PLfl

## Download
DCP021199 | DC WATER AND SEWER AUTHORITY | ARSENIC- TOTAL | 01002 | 0.0099 | 0.8411 | 41 | 4 | 4 | 4 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | BENZENE | 34030 | Monitor | No Goal | Monitor | 1 | 0 | 1 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | CADMIUM- TOTAL | 01027 | 0.0039 | 0.0025 | 39 | 4 | 4 | 4 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | CHROMIUM- TOTAL | 01034 | 0.1624 | 0.8185 | Monitor | 1 | 0 | 1 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | COPPER- TOTAL | 01042 | 0.1188 | 0.0368 | 1500 | 4 | 4 | 4 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | CYANIDE- TOTAL | 00720 | 0.0158 | 0.0397 | Monitor | 4 | 4 | 4 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | ETHYLBENZENE | 34371 | Monitor | No Goal | Monitor | 1 | 0 | 1 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | LEAD- TOTAL | 01051 | 0.0373 | 0.0294 | 300 | 4 | 4 | 4 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | MERCURY- TOTAL | 71900 | 0.0022 | 0.0035 | 17 | 4 | 4 | 4 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | MOLYBDENUM- TOTAL | 01062 | 0.0085 | Monitor | Monitor | 4 | 4 | 4 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | NICKEL- TOTAL | 01067 | 0.1975 | 0.4217 | 420 | 4 | 4 | 4 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | PCB- TOTAL | 04166 | Monitor | No Goal | Monitor | 1 | 0 | 1 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | SELENIUM- TOTAL | 01147 | 0.0084 | 0.0382 | 100 | 4 | 4 | 4 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | SILVER- TOTAL | 01077 | 0.0366 | 0.013 | Monitor | 4 | 4 | 4 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | TOLUENE | 34010 | Monitor | No Goal | Monitor | 1 | 0 | 1 | MG/L | MG/L | MG/KG
DCP021199 | DC WATER AND SEWER AUTHORITY | ZINC- TOTAL | 01092 | 0.3636 | 0.3243 | 2800 | 4 | 4 | 4 | MG/L | MG/L | MG/KG

## PretMap
To create a map to pretreatment db, click the above button.

## MeasurementBatch
NPID | FNMS | DSDG | MVDT | PIPE | PRAS | PRAM | MQAV | MQMX | MCMN | MCMX | NODI | LCUC | DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
DTfl
PLfl