## Sewer Lateral Information
Backwater Evaluation Form [per 2006 International Plumbing Code (IPC) Section 715]
Note: User must complete all cells shown blue highlighted.
Next Upstream Manhole Rim Elevation (ft) = |  |  |  | 0
Sewer Fixture Description |  |  |  | 1 Flood Level Rim Elevation (ft) |  | 2 Backwater Valve or Pump Required?
Basement | Bathtub |  |  | 0 |  | n/a
| Bedpan Washer |  |  | 0 |  | n/a
| Bidet |  |  | 0 |  | n/a
| Dental Unit |  |  | 0 |  | n/a
| Drinking Fountain |  |  | 0 |  | n/a
| Kitchen Sink |  |  | 0 |  | n/a
| Utility Sink |  |  | 0 |  | n/a
| Urinal |  |  | 0 |  | n/a
| Toilet |  |  | 0 |  | n/a
| Dishwasher |  |  | 0 |  | n/a
| Clothes Washer |  |  | 0 |  | n/a
| Floor Drain |  |  | 0 |  | n/a
| Other - describe here |  |  | 0 |  | n/a
First Floor | Bathtub |  |  | 0 |  | n/a
| Bedpan Washer |  |  | 0 |  | n/a
| Bidet |  |  | 0 |  | n/a
| Dental Unit |  |  | 0 |  | n/a
| Drinking Fountain |  |  | 0 |  | n/a
| Kitchen Sink |  |  | 0 |  | n/a
| Utility Sink |  |  | 0 |  | n/a
| Urinal |  |  | 0 |  | n/a
| Toilet |  |  | 0 |  | n/a
| Dishwasher |  |  | 0 |  | n/a
| Clothes Washer |  |  | 0 |  | n/a
| Floor Drain |  |  | 0 |  | n/a
| Other - describe here |  |  | 0 |  | n/a
n/a: not applicable
Sewer Lateral Information
Sewer Lateral Location / Project Address |  | Lateral Size (in) | Lateral Slope (ft/ft) | Lateral C/O Rim Elev (ft) | Lateral C/O Invert Elev (ft) | Public Sewer Size (in) | Next Upstream MH Rim Ele(ft)
0
Notes:
1 2006 International Plumbing Code (IPC) defines Flood Level Rim as "The edge of the receptacle from which water overflows."
2 If the elevation of the flood level rim is lower than the elevation of the next upstream manhole rim, a backwater valve for that fixture may need to be installed per IPC requirements, or the fixture may need to be pumped per IPC requirements.