| Industrial User |  | Permit Number |  |  |
| --- | --- | --- | --- | --- |
| Reporting Period |  | Tested by |  |  |
| Sample Point Description |  |  |  |  |
| Were QA/QC Manual guidelines followed during sampling? |  |  |  Yes |  No |

| Parameter | Local Limit (mg/L) | Sample Results, mg/l (indicate sample date and time for each) |  |  |  |  |  |  | No. of Samples | No. of Results over limit | Violations (WASA Use Only) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Arsenic | 0.23 |  |  |  |  |  |  |  |  |  |  |
| Cadmium | 0.07 |  |  |  |  |  |  |  |  |  |  |
| Chromium | MO |  |  |  |  |  |  |  |  |  |  |
| Copper | 2.3 |  |  |  |  |  |  |  |  |  |  |
| Lead | 1.0 |  |  |  |  |  |  |  |  |  |  |
| Mercury | <0.001 |  |  |  |  |  |  |  |  |  |  |
| Molybdenum | 0.89 |  |  |  |  |  |  |  |  |  |  |
| Nickel | 2.2 |  |  |  |  |  |  |  |  |  |  |
| Silver | 1.3 |  |  |  |  |  |  |  |  |  |  |
| Zinc | 3.4 |  |  |  |  |  |  |  |  |  |  |
| Cyanide | 0.56 |  |  |  |  |  |  |  |  |  |  |
| pH (s.u.) | 5-10 |  |  |  |  |  |  |  |  |  |  |
| TPH oil & grease | 100 |  |  |  |  |  |  |  |  |  |  |
| Total oil& grease | MO |  |  |  |  |  |  |  |  |  |  |
| VOC | MO |  |  |  |  |  |  |  |  |  |  |
| semiVOC | MO |  |  |  |  |  |  |  |  |  |  |
| Pesticides/PCBs | ND |  |  |  |  |  |  |  |  |  |  |
| Flow (gpd) | MO |  |  |  |  |  |  |  |  |  |  |

(Notes:  MO = measure only; VOC = volatile organic compounds;  ND = Non-detect for PCBs)

| I certify, under penalty of law, that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Industrial User Representative Printed Name |  | Industrial User Representative Signature |  |  | Date |  |  |  |
| For DC Water Use Only |  |  |  |  |  |  |  |  |
| Report is |  on time |  |  ____ days late |  incomplete |  |  |  |  |
| Violations reported within 24- h of discovery? |  |  |  yes |  no |  |  |  |  N/A |
| Were violations resampled within 30 days? |  |  |  yes |  no |  |  |  |  N/A |
| Comments |  |  |  |  |  |  |  |  |
| Reviewer (Print Name) |  |  |  | Date |  |  |  |  |